## Slide 1: Accelerator status and plans
Stephanie Diana Rädel
Accelerator Division

## Slide 2: Document package for CNSC
Package submission end of January
CNSC approval received on June 27th
2025
JANUARY
MON
TUE
WED
THU
FRI
SAT
SUN
7
14
21
28
6
13
20
27
1
8
15
22
29
2
9
16
23
30
3
10
17
24
31
4
11
18
25
5
12
19
26
2025
JUNE
MON
TUE
WED
THU
FRI
SAT
SUN
3
10
17
24
2
9
16
23
30
4
11
18
25
5
12
19
26
6
13
20
27
7
14
21
28
1
8
15
22
29

## Slide 3: 3-day beam delivery January 2024
over 50 trips

## Slide 4: 3-day beam delivery February 2025
1 day , 2 h , 26 min
27.9 MeV

## Slide 5: 3-day beam delivery March 2025
97.89%

## Slide 6: March/April
Brandon Humphries focussed on License Enforcement System (LES) commissioning before parental leave
whenever it was possible he trained operators
  4 fully trained DCR operators
essential for

## Slide 7: Status
We just got out of our shutdown, which started April 28th
Checked cryogenic system
  modules are cool again (2K) since June 10th
The high-voltage regulation unit of EACA's KPS is no longer operational
  Yanyun tried to resolve the problem with Ampegon over two weeks
  The only option is a replacement unit
  Tried to shortcut ordering replacement unit, was not successful
  Ampegon confirmation on received pre-payment June 24th
In March/April the current draw increased over time => had a chance to test our gun
2025
APRIL
MON
TUE
WED
THU
FRI
SAT
SUN
1
8
15
22
29
7
14
21
28
2
9
16
23
30
3
10
17
24
4
11
18
25
5
12
19
26
6
13
20
27
2025
MAY
MON
TUE
WED
THU
FRI
SAT
SUN
6
13
20
27
5
12
19
26
7
14
21
28
1
8
15
22
29
2
9
16
23
30
3
10
17
24
31
4
11
18
25
2025
JUNE
MON
TUE
WED
THU
FRI
SAT
SUN
3
10
17
24
2
9
16
23
30
4
11
18
25
5
12
19
26
6
13
20
27
7
14
21
28
1
8
15
22
29

## Slide 8: EGUN Test
Current draw at the end of ramping the gun to 300 kV increased over time
Our limit is 1 mA
After end of shutdown, it didn’t stay the same, it still increased
Current plan: purchase and install different type of water hoses

## Slide 9: Timeline
2026
LABWIDE SHUTDOWN

## Slide 10: Thank you Merci
Follow us @TRIUMFLab
www.triumf.ca