## Slide 1
26 cm
33 cm
68 cm
15 cm
30 cm
8 -- 15 x 3.8 cm2 scint
BC-404
DarkLight

## Slide 2
150mm
38mm
8-i
7-i
6-i
5-i
4-i
3-i
2-i
1-i
8-o
7-o
6-o
5-o
4-o
3-o
2-o
1-o
150mm
38mm
16-o
15-o
14-o
13-o
12-o
11-o
10-o
9-o
16-i
15-i
14-i
13-i
12-i
11-i
10-i
9-i
positron (30 kHz)
electron (3.6 MHz)
Need to be able to trigger on single counters for calibration.
Need to adjust timing for each counter to account for the different path lengths in the spectrometers.
Need to form L-R coincident triggers for each bar, then form OR of 8 e- bars, 8 e+ bars, then trigger e- * e+
Need to generate the fast trigger for readout of the GEM tracking chambers – within 1 usec (??)
For each of the 16 scintillators that have signals above threshold –
  -- make in-out coincidence
  -- make electron – positron coincidence ( want < 200 psec time resolution )
  -- output LE and TE time for an offline time walk correction
Different FPGA programs required
304mm

## Slide 3
TOF Alpha bar with #1 DL Prototype Bar

## Slide 4
v1b -- 6 SiPM DarkLight Scintillator 38mm wide
BC-404
SiPM spacing at 7.50mm to match the
existing frontend readout board designed
for 4 SiPMs on 30mm scintillator
-- not tested

## Slide 5
v2 -- 6 SiPM DarkLight Scintillator 38mm wide
BC-404

## Slide 6
v2-- Prototype Scintillator May 2023
38 mm wide with 6 SiPMs at each end
One Electronic card holds
2 scintillators and 12 SiPMs

## Slide 7
Preamp, Sum Amp, Discriminator
J3 = Pulser-in
J7 = TS1 out
J2 = Logic Out
J4 = +/-5V
J5 = +/-5V
J1 = BIAS 55 V
J6 = TS2 out
NEW v2 front end readout card (top side)
holds 12 SiPMs/2 scintillators
SUM(6)fast ampdiscriminator
FPGA will check e+ e- coincidence
FPGA will readout LE and TE time
Next Stages—
measure time resolution (L-R)
measure time resolution -- 2 bars
design power dist’n board
design test pulse dist’n system
develop trigger FPGA system

## Slide 8
NEW v2 front end readout card (bottom side)
SiPMs--7-12
SiPMs--1-6

## Slide 9
Square wave Test Input pulse

## Slide 10
SiPM Dark Noise @ 8V overvoltage
RT= 924 ps

## Slide 11
MCX output connectors

## Slide 12
v2– Schematic
May 2023
MCX output connectors
for Test-out &
pulser-in signals

## Slide 13
v2-- Prototype Scintillator May 2023

## Slide 14
Bottom Support plate--5mm thick
--will be reduced in area
Cooling Fan and possible compressed air flow
v2-- Prototype Scintillator May 2023