## Slide 1: Infrastructure: Space, Shielding and Cabling
Stephanie Diana Rädel
Accelerator Division

## Slide 2: E-Hall space

## Slide 4
Part of EHDT where DarkLight will be installed

## Slide 5
Long Ionization Chamber (LIC)
Protection tray -> can not be moved.
Hatch space
Needs to stay clear
For e-Hall access

## Slide 6: Shielding
E-Hall top view
LICs
Hatch space

## Slide 7: Shielding
Shielded Hut
Position will be challenge to set up
Tristar brick and block will be a good provider of new shielding blocks
Will need a shielding roof
LICs
Hatch space
8’  2’
4’  2’

## Slide 8: Shielding
Shielded Hut
Position will be challenge to set up
Tristar brick and block will be a good provider of new shielding blocks
Will need a shielding roof
LICs
Hatch space
8’  2’
4’  2’

## Slide 9: Cabling

## Slide 10: Cabling
Cables for different applications
  Vacuum
    Control and instrumentation => roof
  Spectrometers
    2 substantial cables for each spectrometer => roof
    2 lines for water cooling for each spectrometer => from existing pipes in hall
    control cables for Hall probes
  GEM detectors
    4 HV and 24 HDMI cables to VME crate => shielded hut
    4 gas supply and 4 gas return lines => shielded hut
    panel with 4 gas flow controls
    panel with 4 gas bubblers (TV camera to observe remotely)
    exhaust line (N2 can probably be vented to the hall but Ar:CO2 might require venting to atmosphere) => gas shack
  Trigger Scintillators
    Ask Mike => ?

## Slide 11: Cabling
Cable trays from EHDT area connect to trays to the e-hall roof.

## Slide 12: Plumbing
Gas pipes from the gas shack and water pipes within the hall.

## Slide 13: Thank you Merci
Follow us @TRIUMFLab
www.triumf.ca